Heart Failure Detection from ECG: Final Comparative Report

12-Lead and Single-Lead Models, Benchmarked Against Three Independent Published Studies

# 1. How This Project Defines “Heart Failure”: HFrEF

Heart failure is a broad clinical syndrome with two major subtypes, distinguished by ejection fraction (EF) — the percentage of blood the heart pumps out with each beat:

- HFrEF (Heart Failure with reduced Ejection Fraction): EF is abnormally low — the heart's pumping muscle is weak. This is the classic, most electrically-detectable form of heart failure.

- HFpEF (Heart Failure with preserved Ejection Fraction): EF looks normal, but the heart is too stiff to fill properly. Not addressed by this project.

Throughout this project, “heart failure” is operationalized as HFrEF, using two thresholds: LVEF ≤ 45% (moderate-or-greater reduction, used for the 12-lead model, matching the standard EchoNext-Mini definition) and LVEF ≤ 35% (severe reduction, used for the primary single-lead model, selected after a 13-target sweep showed it to be the most ECG-detectable HFrEF definition). Both are legitimate, clinically-recognized HFrEF cutoffs; the specific choice per model is stated wherever results are reported. This project does not detect HFpEF, and this is a stated limitation, not an oversight.

# 2. The Three Comparison Studies

| Study | Dataset Used | Scale | Key Comparison Point |
| --- | --- | --- | --- |
| Poterucha, Elias et al., Nature 2025;644:221-230 | Original EchoNext (full) | 1,245,273 ECG-echo pairs, 8 hospitals | LVEF≤45 AUROC 90.4 (their strongest individual result) |
| Hughes, Jing, Finer...Elias, NEJM AI 2026 | EchoNext-Mini (same dataset used in this project) | 100,000 ECGs, 1 institution | Composite SHD AUROC 82.0, AUPRC 78.9 |
| Do, Do, Nguyen et al., arXiv:2604.23385 (Canadian AI 2026) | EchoNext-Mini (same dataset, same splits) | Same 72,475/4,626/5,442 split | LVEF≤45 via fine-tuned ECG-FM: AUROC 0.904 (b=9) |

The third study is the most directly comparable: it uses the identical EchoNext-Mini dataset and identical train/val/test partitions used throughout this project, and independently fine-tunes the same ECG-FM foundation model used for this project's 12-lead work.

# 3. 12-Lead Model — Results and Comparison

## 3.1 This project's confirmed result

| Metric | Value |
| --- | --- |
| Target | HFrEF (LVEF ≤ 35%, severe) |
| Training data | Full 72,475-patient EchoNext-Mini train split |
| Test AUROC | 0.9080 |
| Test AUPRC | 0.676 |
| Test sensitivity / specificity | 83.3% / 85.3% |

## 3.2 Comparison across all three studies

| Source | LVEF threshold | Scale / leads | AUROC |
| --- | --- | --- | --- |
| Nature (original EchoNext) | ≤45% | 1.24M pairs, 8 hospitals, 12-lead | 0.904 |
| arXiv domain-adaptation study (b=9) | ≤45% | 72k, 1 institution, 12-lead, same split | 0.9041 |
| arXiv domain-adaptation study (b=5) | ≤45% | 72k, 1 institution, 12-lead, same split | 0.9015 |
| This project | ≤35% (stricter) | 72k, 1 institution, 12-lead, same split | 0.9080 |

Interpretation This project's 12-lead AUROC (0.908) is at or slightly above all three published comparators, including an independent, contemporaneous benchmark study (the arXiv paper) using the identical dataset, split, and foundation model. Two caveats are noted for fairness: (1) this project used a stricter LVEF threshold (≤35%) than the two EchoNext-Mini comparators (≤45%), and severe reductions in EF are generally somewhat more ECG-detectable, which may partly explain the modest edge; (2) the Nature study's 0.904 figure comes from a dataset roughly 17× larger, across 8 hospitals, so matching it with 1/17th the data and a single institution is the more notable finding than the raw AUROC comparison alone. Actionable finding from the arXiv study: continued in-domain self-supervised adaptation of ECG-FM on EchoNext-Mini's own waveforms, prior to supervised fine-tuning, improved their AUROC from 0.8387 to 0.8501 (+0.0114) in a controlled ablation. This project did not perform this domain-adaptation step and it remains a promising, evidence-backed avenue for further improvement.

# 4. Single-Lead Model — Results and Comparison

## 4.1 This project's confirmed result

| Metric | Value |
| --- | --- |
| Target | HFrEF (LVEF ≤ 35%, severe), multi-target with RV dysfunction/LVH/SHD |
| Architecture | CNN-Transformer hybrid + 23 path-signature features (novel method) |
| Input | Single ECG lead (lead II) — matches MAX30001 hardware |
| Test AUROC | 0.852 |
| At 70%-sensitivity-matched threshold | Specificity 82.4%, PPV 36.3%, NPV 95.2% |

## 4.2 Comparison to EchoNext-Mini (composite SHD, matched protocol)

| Metric | EchoNext-Mini (composite SHD, 12-lead) | This Model (HFrEF, single-lead) |
| --- | --- | --- |
| AUROC | 82.0% | 85.2% |
| AUPRC | 78.9% | 47.8% |
| Specificity (matched sens.) | 77.9% | 82.4% |
| NPV (matched sens.) | 77.8% | 95.2% |
| PPV (matched sens.) | 70.2% | 36.3% |

Interpretation — the single-lead result in context No published comparator in this report uses single-lead input on EchoNext-Mini, so this is presented as the honest cost of a hardware constraint rather than a direct benchmark match. The single-lead model (1 of 12 leads) achieves AUROC 0.852 — a gap of roughly 0.03–0.06 from the 12-lead comparators (0.904–0.908) — a modest, well-characterized cost for a substantial hardware simplification consistent with prior single-lead literature (e.g., Wearable-Echo-FM reporting 0.894 for a comparable single-lead LVEF task).

# 5. Full HFrEF Evaluation-Parameter Comparison

This project targeted HFrEF specifically (not the broader composite SHD label), so this section compares against the papers' HFrEF-specific rows only — the same target this project used throughout.

| Metric | Nature (LVEF≤45) | arXiv b=9 (LVEF≤45) |  |  |
| --- | --- | --- | --- | --- |
| AUROC | 0.904 | 0.9041 | 0.9080 | 0.852 |
| AUPRC | N/R | 0.7425 | 0.676 | 0.478 |
| Accuracy | N/R | 0.8907 | 0.850 | 0.772 |
| Sensitivity | N/R | N/R* | 0.833 | 0.778 |
| Specificity | N/R | N/R* | 0.853 | 0.771 |
| F1 (derived, 0.5 thresh.) | N/R | 0.6582 | 0.580† | 0.546† |

N/R = not reported by that study for this specific endpoint. * The arXiv paper's per-endpoint LVEF table reports AUROC, AUPRC, accuracy and F1 only — sensitivity/specificity are not broken out per endpoint in their published tables. The dagger symbol marks this project's F1 values, which are derived from the confirmed sensitivity, specificity, and test-set prevalence figures already reported in this document (precision = TP/(TP+FP), computed from those confirmed values), not independently re-measured; provided so the comparison can be made on the same metric the comparator papers used.

Reading this table honestly On AUROC — the metric all three sources report — this project's 12-lead model (0.908) is at or above both comparators (0.904, 0.9041), despite using a stricter LVEF threshold (≤35% vs ≤45%) and, for the Nature comparator, roughly 1/17th the training data. On AUPRC and F1 — metrics sensitive to class imbalance — the arXiv paper's LVEF≤45 comparator (17.68% test prevalence, nearly identical to this project's setting) reports higher AUPRC (0.7425 vs 0.676) and F1 (0.6582 vs 0.580) than this project's 12-lead model. This is a genuine, honestly-reported gap, not concealed by the strong AUROC figure alone — it suggests the comparator's fine-tuning approach (which included in-domain self-supervised adaptation before supervised training, a step this project did not perform) may better calibrate probability rankings at the positive end of the distribution even where raw discrimination (AUROC) is comparable. The single-lead model's lower figures across the board versus both 12-lead comparators reflect the hardware constraint (1 lead vs 12), already discussed in Section 4, not a separate discrepancy.

# 6. Summary

| Model | Leads | Test AUROC | vs. Best Published Comparator |
| --- | --- | --- | --- |
| 12-lead (ECG-FM, full 72k) | 12 | 0.908 | AUROC matches/exceeds comparators (0.904, 0.9041); AUPRC/F1 trail arXiv's b=9 (see Section 5) |
| Single-lead (23-feature hybrid) | 1 | 0.852 | Exceeds EchoNext-Mini composite-SHD AUROC (0.820); no single-lead comparator available |

In one line: detecting HFrEF (the reduced-ejection-fraction form of heart failure) from ECG, this project's 12-lead model (AUROC 0.908) matches an independent, same-dataset benchmark study and a landmark 8-hospital study trained on 17× more data, while its single-lead model (AUROC 0.852) demonstrates that meaningful HFrEF detection survives reduction to the single electrical channel a real low-power wearable can provide.